## Slide 1: Power Plant Losses - Examples from Pakistan
Mansoor Ali Khan
General Manager
Hamid Mukhtar & Company (Pvt) Ltd.
Karachi Insurance Institute
December 4th 2012

## Slide 2: Outline
Introduction to Power Plants
Common Types of Failures
Examples of PP Losses 2007-2012
Concluding remarks

## Slide 3
‘A good presentation should be like a mini skirt. Short enough to arouse interest and long enough to cover the subject’
TED

## Slide 4
Accidents don’t happen – They are caused
That’s why loss adjusters have jobs!

## Slide 5: Power Plant Prime Movers
Steam Turbines
Gas Turbines
Hydro Turbines
Wind Turbines
Internal combustion engines
Solar Photovoltaic cells
Nuclear Reactors

## Slide 6: Common Causes of Failure
Gas, Steam & Hydro Turbines
  Ruptures, High Cycle Fatigue, Blade failures, Design failures
Wind turbines
  Lightning, Electrical Fires, Gearbox failures, Remote locations
IC Engines
  Overheating, Lubrication failure, High speed equipment (Turbochargers), Fire
Generators
  Ruptures, Short circuits, Explosions, Fire
Transformers
  Explosion, Fire ,Insulation failures
Boilers
  Explosion , Fire

## Slide 7: Business Consequences
Reduces capacity available to Grid
Delays in construction
Loss of revenue
  Delayed startup
  Business Interruption
Losses to Insurers / Reinsurers
Impact on Renewal Premiums

## Slide 8: Power plant Losses in Pakistan 2007-2012
IPP Gas Turbine Compressor Blade & Shaft damage – MBD/ BI
  Faulty design of air intake filter system. Blade fouling and damage to 9 stages
  Property damage & BI Claim US$ 10.5 m
IPP HFO Diesel Generator – Alternator Damages – EAR/ DSU
  Design fault in Alternator Base foot design
  COD delayed 6 months
  Loss paid under Warranty by OEM

## Slide 9: Power plant Losses in Pakistan 2007-2012
50 Mw Wind Power plant under construction
  Turbine Rotor blade damaged due to sudden wind/ rainstorm.
  Turbine Rotor assembly damaged during lifting operation for mating with Nacelle on Mast
730 Mw Steam Turbine Plant
  Plant site submerged due to overflow from breached irrigation canal during heavy rains
  Property damage and BI Claim US$ 50 m

## Slide 10: 130 Mw Hydel Power Project - Flood Loss
2 Project sites – Weir Site and Power house
Connected by 9 tunnels
Loss occurred due to unprecedented rainfall and flooding in July 2010
Claimed loss Rs 2.3 billion (US$ 28.75 m)
Still not restored eg. Tunnels blocked with debris
Many Local and Chinese Workers buried under debris

## Slide 11
Weir Site
Power House Site

## Slide 12
Weir Site - before flood
Camp Site

## Slide 13
Weir Site, Stilling Basin and Campsite washed away

## Slide 14
Powerhouse building
Covered with debris

## Slide 15
Stilling basin
Filled with debris

## Slide 16
Power House Campsite
Buried Under Debris

## Slide 17
Tunnel exit
Exit blocked by Debris

## Slide 18: IPP CC Gas Turbine Rotor damage – EAR / DSU
Rotor blades, Stator Vanes, Rotor shaft damage
COD delayed 120 days
Property damage Claim US$ 17.5 m
DSU Claim US$ 3.1 m
Human Error during commissioning

## Slide 19: GT-1 Control Cabin GT-2 Control Cabin

## Slide 20
Thrust collar
Rotor Blades

## Slide 21
Damaged Rotor blade tips

## Slide 22
Damaged Stator Vanes

## Slide 23: IPP Steam Turbine Rotor damage – MBD/ BI
Metal chipped off Bearing thrust collar journal
Property damage – Within deductible
Business Interruption Claim US$ 400 k
Out of service 95 days

## Slide 24
Chipped of metal from Steam turbine rotor bearing thrust collar

## Slide 25: Hydro Power Flood Loss
Run of the river Hydro Power project 96 MW being constructed on the Indus River.
Overtopping of Coffer Dam
Turbines, Generators, LV and HV switchgear, Panels etc. were submerged in Water for many days.
Property Damage claim is approx. USD 55 million
No DSU cover

## Slide 26
Unopened equipment submerged
Unopened equipment submerged

## Slide 27: CC Gas Turbine IPP
175 Mw IPP - 120.9 Mw Gas Turbine & 64.2 Mw steam turbine
Recurring combustion nozzle damages during commissioning
Cause was unsuitable specifications of Fuel gas
LEG 3/96 cover was available – Design faults covered
COD delayed by 13 months

## Slide 28
Burnt nozzle assembly
Nozzle cover damaged
Damaged flow sleeve

## Slide 29: Lessons to be Learnt
Return period basis needs to be reviewed
Safe Storage of equipment and materials during erection
Periodic risk surveys during Construction & Operations
Awareness of LEG coverage
Awareness and understanding of DSU/BI basis for assessment
Use of specialists to assist with complex losses
Creating shared inventory pool of critical equipment
Owners investing in HR training and development

## Slide 30: Thank You